## Civil, Arch, façade, Structural
NAME OF PROJECT: Construction of Innovation Office Building (IOB) in Hyderabad
NATIONAL PAYMENTS CORPORATION OF INDIA (NPCI)
RFP # NPCI/2023-24/DC/036 dated 30.11.2023
Bill of Quantities for Civil, Structural, Façade, architectural and misc. works
Sl No | Description of Item | Unit | Indicative Quantity | Bidders Quantity | Rate | Amount
1 | SITE GRADING
2.28 | Surface dressing of the ground including removing vegetational including uprooting rank vegetation, grass, bushes, shrubs, saplings and concrete pile, iron scraps other construction material debris, etc. removal of stumps, disposal of unserviceable materials, stacking of serviceable materials site boundary, labour charges inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 100 m and lift up to 1.5 m.
2.28.1 | All kinds of soil | Sqm | 2410.74 |  |  | 0
2.1 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift up to 1.5 m, as directed by Engineer-in-Charge: |  |  |  |  | 0
2.1.1 | All kinds of soil | Sqm | 100 |  |  | 0
2.2 | Earth work by mechinical / manual means in rough excavation, banking excavated earth in layers not exceeding 20cm in depth, breaking clods, watering, rolling each layer with 'A tonne roller or wooden or steel rammers, and rolling every 3rd and top-most layer with power roller of minimum 8 tonnes and dressing up in embankments for roads, flood banks, marginal banks and guide banks or filling up ground depressions, lead upto 50 m and for all lift |  |  |  |  | 0
2.2.1 | All kinds of soil | Cum | QRO |  |  | 0
2.7 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30 cm in depth, 1.5m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth, lead up to 50 m and lift up to 1.5m, as directed by Engineer-in-Charge. |  |  |  |  | 0
2.7.1 | Ordinary rock | Cum | 3616.11 |  |  | 0
2.7.2 | Hard rock (requiring blasting) | Cum | QRO |  |  | 0
2.7.3 | Hard rock (blasting prohibited) | Cum | 3616.11 |  |  | 0
2.8 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift up to 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. |  |  |  |  | 0 |  | 2000 | 50000
2.8.1 | All kinds of soil. | Cum | 3616.11 |  |  | 0
2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift up to 1.5 m. | Cum | QRO |  |  | 0
2.26 | Extra for every additional lift of 1.5 m or part thereof in excavation /banking excavated or stacked materials. |  |  |  |  | 0
a) | 1.5mtr to 3mtr |  |  |  |  | 0
2.26.1 | All kinds of soil. | Cum | 1446.444 |  |  | 0
2.26.2 | Ordinary or hard rock. | Cum | 3616.11 |  |  | 0
b) | 3 mtr to 4.5 mtr |  |  |  |  | 0
2.26.2 | Ordinary or hard rock. | Cum | 3616.11 |  |  | 0
c) | 4.5 mtr to 6.0 mtr |  |  |  |  | 0
2.26.2 | Ordinary or hard rock. | Cum | 3616.11 |  |  | 0
d) | 6.0 mtr to 7.5 mtr |  |  |  |  | 0
2.26.2 | Ordinary or hard rock. | Cum | 3616.11 |  |  | 0
e) | 7.5 mtr to 9.0 mtr |  |  |  |  | 0
2.26.2 | Ordinary or hard rock. | Cum | 3616.11 |  |  | 0
f) | 9.0 mtr to 10.5 mtr |  |  |  |  | 0
2.26.2 | Ordinary or hard rock. | Cum | 3616.11 |  |  | 0
g) | 10.5 mtr to 12.0 mtr |  |  |  |  | 0
2.26.2 | Ordinary or hard rock. | Cum | 3616.11 |  |  | 0
h) | 12.0 mtr to 13.5 mtr |  |  |  |  | 0
2.26.2 | Ordinary or hard rock. | Cum | 3616.11 |  |  | 0
i) | 13.5 mtr to 15.0 mtr |  |  |  |  | 0
2.26.2 | Ordinary or hard rock. | Cum | 3616.11 |  |  | 0
j) | 15.0 mtr to 16.5 mtr |  |  |  |  | 0
2.26.2 | Ordinary or hard rock. | Cum | 3616.11 |  |  | 0
k) | 16.5 mtr to 18.0 mtr |  |  |  |  | 0
2.26.2 | Ordinary or hard rock. | Cum | 3616.11 |  |  | 0
l) | 18.0 mtr to 19.5 mtr |  |  |  |  | 0
2.26.2 | Ordinary or hard rock. | Cum | 3616.11 |  |  | 0
l) | 19.5 mtr to 21.0 mtr |  |  |  |  | 0
2.26.2 | Ordinary or hard rock. | Cum | 3616.11 |  |  | 0
4.1. | Providing and laying in position cement concrete of specified grade including the cost of centering and shuttering for all work up to plinth level all complete as per specification and direction of Engineer-In-Charge. |  |  |  |  | 0
4.1.8 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources). | Cum | 204 |  |  | 0
4.2 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor, etc., up to floor five level, excluding the cost of centering, shuttering and finishing : |  |  |  |  | 0
4.2.2 | 1:1½:3 (1 cement : 1½ coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | Cum | 32 |  |  | 0
4.2.3 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | Cum | 6.845 |  |  | 0
5.9 | Centering and shuttering including strutting, propping etc. and removal of form for : |  |  |  |  | 0
5.9.1 | Foundations, footings, bases of columns, etc. for mass concrete | Sqm | 949 |  |  | 0
5.9.2 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | Sqm | 34712 |  |  | 0
5.9.3 | Suspended floors, roofs, landings, balconies and access platform | Sqm | 2959 |  |  | 0
5.9.6 | Columns, Pillars, Piers, Abutments, Posts and Struts | Sqm | 1197 |  |  | 0
5.9.7 | Stairs, (excluding landings) except spiral-staircases | Sqm | 1146 |  |  | 0
5.22.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | Kg | 840800 |  |  | 0
5.22A | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. |  |  |  |  | 0
5.22A.1 | Mild steel and Medium Tensile steel bars | Kg | 292.0519 |  |  | 0
5.33 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. |  |  |  |  | 0
| Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement |  |  |  |  | 0
5.33.1 | All works upto plinth level |  |  |  |  | 0
5.33.1.1 | Concrete of M25 grade with minimum cement content of 330 kg /cum | Cum | QRO |  |  | 0
5.33.1.2 | Concrete of M30 grade with minimum cement content of 350 kg /cum | Cum | 482 |  |  | 0
5.33.1.4 | Concrete of M40 grade with minimum cement content of 390 kg /cum | Cum | 1580.5 |  |  | 0
5.33.2 | All works above plinth level upto floor V level |  |  |  |  | 0
5.33.2.1 | Concrete of M25 grade with minimum cement content of 330 kg /cum | Cum | 987 |  |  | 0
5.33.2.2 | Concrete of M30 grade with minimum cement content of 350 kg /cum | Cum | 1163 |  |  | 0
5.35 | Add/Deduct for using extra cement to be provided as per the approved mix design than the quantity specified in respecxtive items. | QUINTAL | QRO |  |  | 0
5.38 | Extra for R.C.C./ B.M.C/ R.M.C. work above floor V level for each four floors or part thereof. |  |  |  |  | 0
5.38.1 | Concrete of M25 grade with minimum cement content of 330 kg /cum |  |  |  |  | 0
a) | 1st floor to 4th floor | Cum | 490 |  |  | 0
b) | 5th floor to 8th Floor | Cum | 516 |  |  | 0
c) | 9th floor to 12th floor | Cum | 516 |  |  | 0
d) | 13th floor to Terrace | Cum | 609 |  |  | 0
5.38.2 | Concrete of M30 grade with minimum cement content of 350 kg /cum |  |  |  |  | 0
a) | 1st floor to 4th floor | Cum | 380 |  |  | 0
b) | 5th floor to 8th Floor | Cum | 380 |  |  | 0
c) | 9th floor to 12th floor | Cum | 380 |  |  | 0
d) | 13th floor to Terrace | Cum | 285 |  |  | 0
10.1 | Structural steel work in single section, fixed with or without connecting plate,including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | Kg | QRO |  |  | 0
10.2 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | Kg | QRO |  |  | 0
10.6 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths interlocked together through their entire length and jointed together at the end by end locks mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete including the cost of providing and fixing necessary 27.5cm long wire springs grade No. 2 and M.S. top cover of required thickness for rolling shutters. |  |  |  |  | 0
10.6.1 | With 80 x 1.25 mm M.S. laths with 1.25 mm thick top cover | SQM | 14 |  |  | 0
10.7 | Providing and fixing ball bearing for rolling shutters. | EACH | 1 |  |  | 0
10.28 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | Kg | 7277.25 |  |  | 0
11.3 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. |  |  |  |  | 0
11.3.1 | 40 mm thick with 20 mm nominal size stone aggregate | Sqm | 604 |  |  | 0
12.55 | Providing and Applying two coats of heat reflective paint of approved make @ 400 micron a non-toxic water based pure acrylic resin systems, with an average permeace (ability to breathe out trapped water vapor) of 310 and average permeability of 8.8 perm/inch (ASTM 1653) with Ultimate elongation at break of 70% when new and an increase of elongation after 504-hour of 85% (ASTM D-865), resistant to 25% pure sulphuric acid and 40% pure sodium chloride, with pure sodium borosilicate hollow ceramic micro spheres of less than 100 micron as the primary filler Thermal Conductivity: 0.0515 W/mK ASTM E 1225, Solar Reflectance: >75% ASTM E903, Solar Emmittance: >91% ASTM E903/90%ASTM E408 Heat Flux Reduction of 66% over a 3 year testing period by Oakridge National Laboratory Chemical Resistance to 26% different chemicals as per ASTM 1308 reinforcing tape of 100% polyester fabric with elongation of 100% ASTM D1683, Bulk 0.500 microns and mass of 0.55kg/m2 all complete as per specification and direction of Engineer-In-Charge. | Sqm | 780 |  |  | 0
12.56 | Providing and laying roof insulation with 40 mm thick impervious sprayed, closed cell free Rigid Polyurethane foam over deck insulation conforming to IS - 12432 Pt. III (density of foam being 40-45 kg/ cum), over a coat of polyurethane primer applied @ 6-8 sqm per litre, laying 400 G polythene sheet over PUF spray and providing a wearing course of 40 mm thick cement screed 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 20 mm nominal size) in chequered rough finish, in panels of 2.5 m x 2.5 m and embedding with 24 G wire netting and sealing the joints with polymerized mastic, all complete as per direction of Engineer-in-Charge. | Sqm | 2144 |  |  | 0
12.63 | Providing and applying two coats of High Albedo paint having minimum Solar Reflective Index (SRI) 108 (with solar reflectance & thermal emittance tested as per ASTM) C 1549 and ASTM C 1371 respectively), VOC less than 10 cc/gm. The coating thickness and the methodology of application shall strictly as per manufacturer's specifications and as approved by engineer In charge. Surface preparation includes cleaning with metal wire brush to remove all dust, fungus etc., washing with water all complete. The contractor shall give guarantee for the performance of SRI and also the durability of coating, all complete as per direction of Engineer-in-charge. | Sqm | QRO |  |  | 0
13.5 | 15 mm cement plaster on rough side of single or half brick wall of mix : |  |  |  |  | 0
13.5.1 | 1:4 (1 cement: 4 coarse sand) | Sqm | 43576 |  |  | 0
13.39 | Colour washing such as green, blue or buff to give an even shade : |  |  |  |  | 0
13.39.1 | New work (two or more coats) with a base coat of white washing with lime | Sqm | 5555.316 |  |  | 0
13.16 | 6 mm cement plaster of mix : |  |  |  |  | 0
13.16.1 | 1:3 (1 cement: 3 fine sand) | Sqm | QRO |  |  | 0
13.26 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | Sqm | QRO |  |  | 0
13.52 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface, etc. complete. |  |  |  |  | 0
13.52.1 | On steel work | Sqm | 79805.3972 |  |  | 0
13.83 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre. of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. |  |  |  |  | 0
13.83.2 | Two coats. | Sqm | QRO |  |  | 0
15.2 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. |  |  |  |  | 0
15.2.1 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | Cum | QRO |  |  | 0
15.2.2 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | Cum | QRO |  |  | 0
15.3 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | Cum | QRO |  |  | 0
15.4 | Demolishing R.B. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in- charge. | Cum | QRO |  |  | 0
15.5 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer in-charge. | Sqm | QRO |  |  | 0
15.7 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.. |  |  |  |  | 0
15.7.4 | In cement mortar | Cum | QRO |  |  | 0
15.9 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : |  |  |  |  | 0
15.9.2 | In cement mortar | Cum | QRO |  |  | 0
15.15 | Extra for dismantling trusses, rafters, purlins etc. of wood work for every additional span of one metre or part thereof beyond 10 metres : |  |  |  |  | 0
15.15.1 | Of sectional area 40 square centimetres and above | units | QRO |  |  | 0
15.15.2 | Of sectional area below 40 square centimetres | unit | QRO |  |  | 0
15.16 | Extra for dismantling trusses, rafters, purlins etc. of wood work for every additional height of one metre or part thereof beyond 5 metres : |  |  |  |  | 0
15.16.1 | Of sectional area 40 square centimetres and above. | units | QRO |  |  | 0
15.16.2 | Of sectional area below 40 square centimetres. | units | QRO |  |  | 0
15.17 | Dismantling steel work in single sections including dismembering and stacking within 50 metres lead in: |  |  |  |  | 0
15.17.1 | R.S. Joists | Kg | QRO |  |  | 0
15.17.2 | Channels, angles, tees and flats | Kg | QRO |  |  | 0
15.18 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | Kg | QRO |  |  | 0
15.19 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge | Kg | QRO |  |  | 0
15.20 | Extra for dismantling trusses, rafters, purlins etc. of steel work for every additional span of one metre or part thereof beyond 10 metres | unit | QRO |  |  | 0
15.21 | Extra for dismantling trusses, rafters, purlins etc. of steel work for every additional height of one metre or part thereof beyond 5 metres. | unit | QRO |  |  | 0
15.22 | Extra for marking of structural steel work required to be re-erected. | Kg | QRO |  |  | 0
15.28 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: |  |  |  |  | 0
15.28.1 | G.S. Sheet | Sqm | QRO |  |  | 0
15.28.2 | Asbestos cement sheet | Sqm | QRO |  |  | 0
15.34 | Dismantling and stacking within 50 metres lead, fencing posts or struts including all earth work and dismantling of concrete etc. in base of: |  |  |  |  | 0
15.34.1 | T’ or ‘L’ iron or pipe | No. | QRO |  |  | 0
15.34.2 | R.C.C. | No. | QRO |  |  | 0
15.36 | Dismantling barbed wire or flexible wire rope in fencing including making rolls and stacking within 50 metres lead. | Kg | QRO |  |  | 0
15.40 | Dismantling precast concrete or stone slabs in walls, partition walls etc. including stacking within 50 metres lead : |  |  |  |  | 0
15.40.1 | Thickness up to 40 mm | Sqm | QRO |  |  | 0
15.40.2 | Thickness above 40 mm up to 75 mm | Sqm | QRO |  |  | 0
15.44 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : |  |  |  |  | 0
15.44.1 | 15 mm to 40 mm nominal bore | m | QRO |  |  | 0
15.44.2 | Above 40 mm nominal bore | m | QRO |  |  | 0
15.45 | Dismantling C.I. pipes including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means breaking lead caulked joints, melting of lead and making into blocks including stacking of pipes & lead at site within 50 metre lead as per direction of Engineer-in-charge: |  |  |  |  | 0
15.45.1 | Up to 150 mm diameter | m | QRO |  |  | 0
15.45.2 | Above 150 mm dia up to 300 mm dia. | m | QRO |  |  | 0
15.45.3 | Above 300 mm diameter | m | QRO |  |  | 0
15.53 | Dismantling of C.I. sluice valve including stacking of useful materials within a lead of 50 metres |  |  |  |  | 0
15.53.1 | Up to 150 mm diameter | No. | QRO |  |  | 0
15.53.2 | Above 150 mm diameter | No. | QRO |  |  | 0
15.54 | Dismantling of spindle fire hydrant including stacking of useful materials within 50 metres lead. | No. | QRO |  |  | 0
15.55 | Dismantling of cement concrete platform along with curtain walls and base concrete etc. including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead : |  |  |  |  | 0
15.55.1 | 120 x 120 cm (outside to outside) | No. | QRO |  |  | 0
15.55.2 | 210 x 120 cm (outside to outside) | No. | QRO |  |  | 0
15.55.3 | 320 x 120 cm (outside to outside) | No. | QRO |  |  | 0
15.58 | Demolishing R.C.C. work by mechanical means and stockpiling at designated locations and disposal of dismantled materials up to a lead of 1 kilometre, stacking serviceable and unserviceable material separately including cutting reinforcement bars. | Cum | QRO |  |  | 0
15.59 | Dismantling of flexible pavement (bituminous courses) by mechanical means and disposal of dismantled material up to a lead of 1 kilometre, as per direction of Engineer-in-charge. | Cum | QRO |  |  | 0
15.60 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | Cum | QRO |  |  | 0
16.1 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re- olling the sub grade and disposal of surplus earthwith lead upto 50 metres. | Sqm | 1746 |  |  | 0
16.78 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, all complete as per specification and direction of Engineer-In-Charge. |  |  |  |  | 0
16.78.1 | With material conforming to Grade-I (size range 75 mm to 0.075 mm) having CBR Value-30 | CUM | 261.9 |  |  | 0
16.79 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by tipper to site, for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge | CUM | 174.6 |  |  | 0
16.43 | Providing and laying design mix cement concrete of M-30 grade, in roads/ taxi tracks/ runways, using cement content as per design mix, using coarse sand and graded stone aggregate of 40 mm nominal size in appropriate proportions as per approved & specified design criteria, providing dowel bars with sleeve/ tie bars wherever required, laying at site, spreading and compacting mechanically by using needle and surface vibrators, levelling to required slope/ camber,finishing with required texture, including steel form work with sturdy M.S. channel sections, curing, making provision for contraction/ expansion, construction & longitudinal joints (10 mm wide x 50 mm deep) by groove cutting machine, providing and filling joints with approved joint filler and sealants, complete all as per direction of Engineer-in-charge (Item of joint fillers, sealants, dowel bars with sleeve/ tie bars to be paid separately). |  |  |  |  | 0
| Note: Cement content considered in M-30 is @ 340Kg/Cum. Excess/Less cement used as per design mix is payable, recoverable separately. |  |  |  |  | 0
16.43.2 | Cement concrete manufactured in automatic batching plant (RMC plant) i/c transportation to site in transit mixer. | Cum | 18 |  |  | 0
16.69 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not be more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | CUM | 440 |  |  | 0
16.81 | Providing and erecting 2.00 metre high temporary barricading at site; each panel of size 2.50m x 2.00m made of 40x40x6 mm angle iron or 50x50x3 mm hollow MS tube posts/ horizontal members/ bracings covered with 1.63 mm thick MS sheet. The sheet shall be fixed with 30x5 mm MS flat by suitable welding / riveting. The panels shall be made so that gap of 50 cm above the ground is available making over all height as 2.50m. MS channel ISLC 75 @ 5.70 kg/m, 50 cm long shall be provided at the bottom having oval shaped holes of size 50x25 mm at both ends with 50 cm long MS angle 40x40x6 mm bracing. |  |  |  |  | 0
| Suitable arrangement shall be made to fix the barricading to avoid from overturning by providing 250 mm long expansion fasteners at both ends. |  |  |  |  | 0
| The work shall be executed as per drawing/ direction of Engineer-in-Charge which includes writing and painting, arrangement for traffic diversion such as traffic signals during construction at site for day and night, glow lamps, reflective signs, marking, flags, caution tape as directed by the Engineer-in- Charge. The barricading provided shall be retained in position at site continuously i/c shifting of barricading from one location to another location as many times as required during the execution of the entire work till its completion. Rate include its maintenance for damages, painting, all incidentals, labour, materials, equipments and works required to execute the job. The barricading shall not be removed without prior approval of Engineer-in-Charge. |  |  |  |  | 0
| (Note :- One time payment shall be made for providing barricading from start of work till completion of work i/c shifting. The barricading provided shall remain to be the property of the contractor on completion of the work). | Rm | 50 |  |  | 0
16.82 | Taking out existing kerb stones of all types from footpath/ central verge, including removal of mortar etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | m | QRO |  |  | 0
16.83 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | Sqm | QRO |  |  | 0
16.84 | Laying old cement concrete interlocking paver blocks of any design/ shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer in-charge. (Old CC paver blocks shall be supplied by the department free of cost). | Sqm | QRO |  |  | 0
16.85 | Laying at or near ground level old kerb stones of all types in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement : 3 coarse sand), including making joints with or without grooves (thickness of joints, except at sharp curve, shall not be more than 5 mm), including making drainage opening wherever required etc. complete as per direction of Engineer -in-charge. (Length of finished kerb edging shall be measured for payment). (Old kerb stones shall be supplied by the department free of cost). | m | QRO |  |  | 0
16.91 | Providing and laying factory made chamfered edge Cement Concrete paver blocks In foot path, park & lawns driveway or light & traffic parking etc. of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of course sand, compacting and proper embedding/ laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand, all complete as per manufacturer's specifications & direction of Engineer in-Charge. |  |  |  |  | 0
16.91.1 | 60mm thick Cement concrete paver block of M-35 grade with approved colour, design & pattern | Sqm | 1746 |  |  | 0
19.16 | Providing orange colour safety foot rest of minimum 6 mm thick plastic encapsulated as per IS : 10910, on 12 mm dia steel bar conforming to IS: 1786, having minimum cross section as 23 mmx25 mm and over all minimum length 263 mm and width as 165 mm with minimum 1 12 mm space between protruded legs having 2 mm tread on top surface by ribbing or chequering besides necessary and adequate anchoring projections on tail length on 138 mm as per standard drawing and suitable to with stand the bend test and chemical resistance test as per specifications and having manufacture's permanent identification mark to be visible even after fixing, including fixing in manholes with 30x20x15 cm cement concrete block 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) complete as per design. | No. | 30 |  |  | 0
21.8 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. |  |  |  |  | 0
21.8.1 | Upto 5mm depth and 5 mm width | m | 3910 |  |  | 0
22.7 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: |  |  |  |  | 0
| (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. |  |  |  |  | 0
| (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. |  |  |  |  | 0
| (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge. |  |  |  |  | 0
| (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. |  |  |  |  | 0
| (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : |  |  |  |  | 0
22.7.1 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | Sqm | 1465 |  |  | 0
23.2 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer -in-charge, beyond 90 metre & upto 150 metre depth below ground level. |  |  |  |  | 0
23.2.2 | Rocky strata including Boulders |  |  |  |  | 0
23.2.2.1 | 300 mm dia | m | QRO |  |  | 0
23.2.2.2 | 350 mm dia | m | QRO |  |  | 0
23.2.2.3 | 400 mm dia | m | QRO |  |  | 0
23.3 | Supplying, assembling, lowering and fixing in vertical position in bore well, unplasticized PVC medium well casing (CM) pipe of required dia, conforming to IS: 12818, including required hire and labour charges, fittings& accessories etc. all complete, for all depths, as per direction of Engineer-in-charge. |  |  |  |  | 0
23.3.1 | 100 mm nominal size dia | m | QRO |  |  | 0
23.3.2 | 150 mm nominal size dia | m | QRO |  |  | 0
23.3.3 | 200 mm nominal size dia | m | QRO |  |  | 0
23.4 | Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) pipes with ribs, conforming to IS: 12818, including hire & labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer-in-charge. |  |  |  |  | 0
23.4.1 | 100 mm nominal size dia | m | QRO |  |  | 0
23.4.2 | 150 mm nominal size dia | m | QRO |  |  | 0
23.4.3 | 200 mm nominal size dia | m | QRO |  |  | 0
23.5 | Supplying, filling, spreading & leveling stone boulders of size range 5 cm to 20 cm, in recharge pit, in the required thickness, for all leads & lifts, all complete as per direction of Engineer-in-charge. | Cum | QRO |  |  | 0
23.9 | Providing and fixing factory made precast RCC perforated drain covers, having concrete of strength not less than M-25, of size 1000 x 450x50 mm, reinforced with 8 mm dia four nos longitudinal & 9 nos cross sectional T.M.T. hoop bars, including providing 50 mm dia perforations @ 100 to 125 mm c/c, including providing edge binding with M.S. flats of size 50 mm x 1.6 mm complete, all as per direction of Engineer-in-charge. | Each | QRO |  |  | 0
26.38 | Shotcreting R.C.C. columns, beams and slabs etc. in layers with approved design mix concrete having the specified minimum characteristic compressive strength [with ordinary portland cement, coarse sand and graded stone aggregate of 10 mm maximum size in proportion as per design criteria] including the cost of centering and shuttering at edges and corners etc. as directed by Engineerin- Charge Note: Rates shall include the providing necessary ground wires etc. The levelling gauges, if used, shall be paid for separately. Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding/ tapping with a blunt metal instrument. |  |  |  |  | 0
26.38.1 | 25mm thick in Grade M 25 with cement content not less than 330 kg per cum | Sqm | 339 |  |  | 0
27.2 | Drilling holes in hard rock above 18mm Diameter, including all operational, incidental, labour charges, and overheads & contractor's profit, complete for finished item of work. | RM | 422 |  |  | 0
27.3 | Grouting the holes with neat cement slurry excluding cost of steelr 20mm dia as applicable including labour charges etc. complete for finished item of work as directed by the Engineer-in-Charge . | RM | 422 |  |  | 0
27.4 | Supply and fixing Wrapping around PEB columns, exposed beams welding with 20x20x1.5mm square hollow section at equal intervals, pasted with 19 mm thick thermocol sheet to the columns, beams and fixing over the thermocol 6 mm particle board fitted with the self driven screws including cost of fixing in position, including cost of Labour charges, overheads & contractor's profit, etc. complete in position etc. complete for finished item of work. | SQM | QRO |  |  | 0
27.6 | Supplying and Grouting of Pockets in-between the foundation top and Base Plate ,inside the concrete structures using Conbextra GP2 of M/s Fosroc Chemicals or approved equivalent including making arrangements to fix the MS framework , MS bolts, inserts, etc to required line, level and position & cleaning the pockets & surface using water to make it free from dirt and dust, pouring the ready mixed grout in the locations as per manufacturers detail specifications including curing at all levels and locations etc., complete all as directed. | Cum | 1 |  |  | 0
27.8 | Anti-termite Pre-construction Treatment : (As per IS : 6313 Part - I, II, III & IV) (Note : Anti-termite treatment shall be carried out through specialised agency reputed in Pest Control treatment and approved by the Project Manager. | SQM | 6300 |  |  | 0
| The contractor to give 10 years guarantee on a suitable bond).Providing Pre-constructional anti- termite treatment and creating a chemical barrier to the building by injecting chemical emulsion of required concentrations under raft slab and beam, under Cellular raft slab, around the footings, column pits, trenches, pits, tunnels, wall trenches, back fill, plinth filling, junction of wall and floor/on DPC over walls, side walls of foundation, external perimeter of building, surrounding of pipes expansion joints, etc. as per IS specification and as per the instructions of chemical manufacturer and all as directed. The treatment shall be carried out strictly in accordance with the technical specification and conforming to IS 6313 or equivalent BS specification. The chemical to be used as insecticides for the treatment shall be CHLOROPYRIPHOS 20% (or) 50% EC and the application shall be dilute one part of chemical 20% or 50% EC with 19 or 49 parts of water to get 1% emulsion and strictly in accordance with the manufacturer's specification. Note : Horizontal plan area at the top of slab level of the building will be measured. |  |  |  |  | 0
19.18 | Supplying and fixing C.I. cover without frame for manholes : |  |  |  |  | 0
19.18.3 | 560 mm diameter C.I. cover (heavy duty) the weight of the cover to be not less than 108 kg. | Nos | QRO |  |  | 0
12.43 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. |  |  |  |  | 0
12.43.1 | 75 mm | Rm | QRO |  |  | 0
12.43.2 | 110 mm | Rm | QRO |  |  | 0
27.15 | Providing and fixing Motorised M.S.Sliding Gate of size 9500mm X 1500mm made out of 75mm x 150mm sections for bottom and 75 mm x 75 mm box sections for top frame with 25mm x 25mm sections at 175mm C / C for inner design as per the drawing complete fabrcation with two coats of enamel paint of an approved shade over one coat of primer . The gate is runned over GI pipe 10guage (for guide, it should be grouted on the ground) at the bottom of the gate it is fitted with zinc plated heavy duty lathe turned precisely ball bearing wheel with circlips and hallen screw assembly for smoother running on the pipe & with rack it is fitted on rectangular pipe (50mm x 25mm - 16g) for the pulley to drive the gate to & fro at the top of the gate it is holding by a M.S angle frame with 6 Nos nylon bushes for guide,including loading , unloading, transportation, scaffolding etc, Including Providing and fixing DITEC CROSS 18VE or approved equivalent electromechanical actuators for sliding gates comprising of rugged & powerful drive unit , integral electronic control unit & inbuilt contact less magnetic limit switch with galvanised rack ( duly harfened & tempered ) with precast wall anchors with kew selector, all complete as per specifications and direction of Engineer-In-Charge | Each | 2 |  |  | 0
27.16 | Providing and fixing Manual operated Swing gate of size 5000mm X 1500 mm made of 75 x 150 mm M S box section for bottom frame , 75 x 75 mm box sections for top frame with 25 x 25 mm box section for internal design at 175 mm C / C with heavy duty hinges complete with 2 coats matt finish spray Enamel paint over one coat of zinc chromate primer to approved colour. Approved locking arrangements to be provided.The quoted rate shall include for loading , unloading, transportation , scaffolding etc...as directed by the Engineer in Charge. | Each | QRO |  |  | 0
27.17 | Providing and fixing Wicket gate made of 75 x 150 mm M S box section for bottom frame , 75 x 75 mm box sections for top frame with 25 x 25 mm box section for internal design at 175 mm C / C with heavy duty hinges complete with 2 coats matt finish spray Enamel paint over one coat of zinc chromate primer to approved colour. Approved locking arrangements to be provided.The quoted rate shall include for loading , unloading, transportation , scaffolding etc...as directed by the Engineer in Charge. |  |  |  |  | 0
27.17.1 | 1200 X 1500 mm Size | Each | QRO |  |  | 0
27.17.2 | 1000 X 1500 mm Size | Each | QRO |  |  | 0
27.17.3 | 900 X 1500 mm Size | Each | QRO |  |  | 0
27.19 | Supplying, fabricating, hoisting and erecting in position structural steel works which is Pre-Engineering building structures using MS Plates of 345MPa yield strength for box columns (filled with concrete), steel beams for main girders made up of steel plates with necessary end plates, washers and nuts as per the drawings and secondary beams made up of steel plates as per the drawings with necessary cleats, nuts and bolts at all elevations, levels and heights including aligning, leveling, providing and fixing bolts, nuts, washers, comprising MS plates of various sizes and other structural steel sections conforming to latest IS CODE including straightening, cutting, welding, bending to shape, bolting, cleaning the rust and scales to the satisfaction of Consultant and inclusive of following finishes. Grit / sand blasting and applying two coats of Synthetic Enamel paint over two coats of approved Zinc Chromate primer before erection. Only paint touchup wherever needed to be done after erection.The rate to include the cost of all materials, labours, tools, tackles, cranes, devices and plants, bolts, nuts, washers, clamps, welding electrodes and connection required for work, shims and packing pieces, any cutting, fabrication work required on electrically operated machines in the work shop including transportation to site and erection as per specifications and drawing complete. |  |  |  |  | 0
| Also includes placing of insert plates in position as per the structural drawings and ensuring proper welding to the reinforcement to ensure the line/length level for all the plates in shear walls as per the drawing.Also includes on site welding of some brackets to the insert plates embedded into the RCC shear walls and subsequent fixing of main beams with all end plates, nuts, washers etc. |  |  |  |  | 0
27.19.1 | a) Plates of 6mm to 16mm Thick | MT | 1834 |  |  | 0 |  | 146563
27.19.2 | b) Plates of 20mm to 32mm Thick | MT | 786 |  |  | 0 |  | 146563
27.2 | Providing and fixing HSFG connection bolts of 8.8/10.6 grade of following diameter with nuts and washer plates complete as directed. |  |  |  |  | 0
27.20.1 | a) HSFG 8.8 18mm to 24mm Dia | MT | 25 |  |  | 0 |  | 159350
27.20.2 | b)HSFG 10.6 36mm to 28mm Dia | MT | 35 |  |  | 0 |  | 159350
27.21 | Providing and fixing mild steel round holding down bolts EN 8.8 grade with nuts and washer plates complete | MT | 60 |  |  | 0 |  | 159350
27.22 | Providing and fixing mild steel round holding down bolts EN 10.6 grade with nuts and washer plates complete | MT | 30 |  |  | 0 |  | 159350
27.23 | Providing, fabrication and erection in position Structural Steel for MS Insert Plates, Edge Angles, Lugs, Base Plates etc of any thickness including cutting, hoisting welding, drilling holes fixing in position at all heights and levels including applying two coats of Synthetic Enamel paint over a coat of Zinc Chromate primer etc complete all as per specifications and as directed. | MT | 180 |  |  | 0 |  | 159350
27.24 | Providing, fitting and fixing 345 Mpa Minimum yield stress, cold rolled steel as per IS CODE , Galvanized Decking Profile sheet of 0.8mm thick, TR50 of approved design and size. The sheet shall be manufactured from hot dip galvanized having strength as stated herein and galvanization thickness of 120 Gms per sq mtr as per triple spot test of IS 277.The rate shall include all cost towards material, transport, storage handling, lifting, positioning, fixing, wastages, laps, welding, Welding of MS studs using a stud Welding Gun for binding RCC slab and all labour. Measurement shall be made on as laid area. As per Drawing complete at all levels and Locations and as directed by engineer in charge. | Sqm | 27680 |  |  | 0 |  | 1525.6
27.30 | Providing and fixing Puddle flanges of required sizes in RCC water Storage tanks at locations and levels as shown in the drawing, fabricated from MS hot dip galvanized finish pipes with 5mm wall thickness upto 65mm nominal bore pipes and 6mm wall thickness for 80mm or above diameter pipes welded to 5mm thick square plate of size 3 times the diameter of the pipe- Puddle flanges upto 50mm n.b shall have screwed ends where as pipes of larger diameters shall be provided with flanges of approved sizes on both ends. Overall length of the puddle flange pipe shall be such that it will project at least 200mm on either side of the tank wall. Rate includes cutting of holes in centre of plate, inserting pipe and making welded (arc) joint complete. Puddle flange shall be installed with Tac welded jointing position with reinforcement bars of RCC tank wall / slab including making cutout in shuttering. Hot dip galvanizing to be done after the fabrication complete as per specifications and direction of Engineer-In-Charge. |  |  |  |  | 0
b) | 50 mm NB | Each | QRO |  |  | 0
b) | 65 mm NB | Each | QRO |  |  | 0
c) | 80 mm NB | Each | QRO |  |  | 0
d) | 100 mm NB | Each | QRO |  |  | 0
e) | 150 mm NB | Each | QRO |  |  | 0
f) | 200 mm NB | Each | QRO |  |  | 0
g) | 300 mm NB | Each | QRO |  |  | 0
27.32 | Carriage of excavated rock as obtained from the excavations beyond 50 m and upto 1 Km, by mechanical transport including loading, unloading and properly stacking at the location decided by Engineer in Charge. (The rate shall be applicable to the net quantities after deduction for prescribed percentage of voids as per CPWD specification). For purpose of measurement, the distance beyond the initial 50 m from the point of loading at project site upto the area of disposal shall be considered. |  |  |  |  | 0
a) | For lead beyond 50 m to 1 Km | Cum | QRO |  |  | 0
b) | For lead beyond 1 Km to 2 Km | Cum | QRO |  |  | 0
c) | For lead beyond 2 Km to 3 Km | Cum | 55688.094 |  |  | 0
| MASONRY WORKS |  |  |  |  | 0
| Unless otherwise specified, the rates quoted for all items shall include the cost of the following : a) All scaffolding, ladders, platforms, staging & plant required in the execution of work to any height and depth at all levels. Only self supporting Scaffolding will be allowed, no holes in masonry would be permitted for scaffolding. All Scaffoling,ladders & platform members are should be used steel members b) Hacking & roughening of concrete or other surface in contact with masonry for bondage. c) Racking out joints to 12 mm depth either for plastering or pointing. d) Levelling up and preparing top of masonry for Damp Proof Course / Coping Band. e) Building in holdfasts, bolts and such other inserts. f) Keeping the work well wetted (Curing) for two weeks. (14 days) g) Work at all heights, levels, depths unless otherwise specified. h) Providing through bond stones at every 2.0 mts apart in each course in stone masonry. (zig zag) i) All works curved or straight. j) Soaking of bricks and concrete blocks in water for minimum 12 hours at site and is to be done not more than 24 hours before using them. |  |  |  |  | 0
| k) Cost of all materials including transporting to site, Loading and unloading of materials and all lead and lifting charges,Cutting,Hacking & Wastage of materials l) Leaving holes for pipes / Sleeves or similar items as per drawings / instructed by Project Manager / Client. m) Building in ends of beams, joists, slabs, lintels, sills, trusses etc. n) Stones used shall be granite, trap and / or basalt unless otherwise specified. o) Providing PCC 1:3:6, 75 mm thick band reinforced with two numbers of 8 mm dia Fe 500 grade approved steel at every fifth course for the full length of 100 mm solid or hollow cement concrete block masonry walls.PCC band (Coping) for 150mm , 200mm and above masonry shall be paid under PCC BOQ Item only p) Levelling up and preparing top of masonry for damp proof course. Masonry work shall include the grouting in the metal door frames & miscellaneous metal items built in to the brick or solid concrete block wall , no extra amount shall be paid for the same q) Approved Sand from quality source can be used for masonry works. r) After approval of Project Manager / Client the Fly ash can be used up to 15% of the cementitious material in block casting. s) Cement Mortar mixing to be done with onsite batch mixers. t) Handling of cement mortar at work place should be only in Tray (Metal) & not on GI Sheets or any other platform. |  |  |  |  | 0
| FLY ASH BRICK MASONRY |  |  |  |  | 0
27.35 | Providing and laying Coursed Rubble stone masonry in cement mortar 1:5 using approved quality stone including providing header stone 1 no. per Sq.M, in Foundation and Plinths including of scaffolding, curing, raking of joints, Pointing the exposed surface with plastering joints etc complete as directed by Project Manager / Client. (Note If width of masonry wall is more and single header stone can not be laid then RCC precast concrete header as per drawing may be provided. No extra payment will be made in this regard.) | Cum | 38.4 |  |  | 0
27.37 | Providing and constructing Fly Ash brick work at all levels with approved quality machine moulded bricks with a crushing strength not less than 70 Kg / sq.cm of approved quality and make confirming to IS code 13757,in cement mortar 1:6 (1 of cement and 6 of sand) for walls of thickness 230mm and above to confirming IS Code 13757 in substructure , superstructure, dwarf wall, retainer wall etc. including racking of joints, curing, scaffolding etc. Packing the junctions & gap of wall with ceiling / Beam by using M20mix complete as directed by Project Manager / Client. fly ash bricks from C' Cure Building Product Pvt Ltd or Approved equivalent The rate also to include the packing of junctions & gap between wall & ceiling / Beam using M20mix. | Cum | 36.8 |  |  | 0
27.38 | Providing and constructing masonry using Autoclaved Aerated Concrete (AAC) Block make confirming to IS code 2185 part3 fixing using manufacturer specified jointing mortar Fix block from Ultratech / Equivalent to comply with ASTM 1660-9 3-4mm thickness & or as per manufacturer recommendations, including all scaffolding, ladders, platforms and staging packing the junction of wall with ceiling with M20 mix and plant required for the execution of the work. Bearing blocks in mortar courses will have to be introduced where required. Density shall be 750 kg/cum minimum.PCC 1:3:6 75mm Thick band to be laid with 8mm dia rod in each fifth layer to be provided |  |  |  |  | 0
| Wall thickness - 100mm (Rate to including RCC concrete coping). |  |  |  |  | 0
a) | Stilt floor to 4th floor | Cum | 36 |  |  | 0
b) | 5th floor to 8th Floor | Cum | 32 |  |  | 0
c) | 9th floor to 12th floor | Cum | 32 |  |  | 0
d) | 13th floor to Terrace | Cum | 42 |  |  | 0
| Wall thickness - 200mm and above | Cum | 0 |  |  | 0
a) | Stilt floor to 4th floor | Cum | 621 |  |  | 0
b) | 5th floor to 8th Floor | Cum | 458 |  |  | 0
c) | 9th floor to 12th floor | Cum | 421 |  |  | 0
d) | 13th floor to Terrace | Cum | 497 |  |  | 0
22.23.1 | Providing and fixing 1.14 mm thick " Ethylene-Propylene-Diene Terpolymer Membrane (EPDM)" of approved make confirming to ASTM D4637 for water proofing on vertical surfaces at all levels and locations using a solvent based neoprene bonding adhesive of approved make and quality applied to the clean and dry substrate wall as well as over the EPDM as per manufacturer's specification and instruction of Engineer in Charge. The coated membrane shall then be rolled on the coated surface avoiding any wrinkles so that the EPDM is fully bonded to the RCC substrate, including fastening of EPDM at every termination throughout its length by means of aluminum bar & fasteners. The adjacent membrane shall be then sealed with the membrane below using minimum 75 mm wide double sided splice tape as per manufacturer’s specifications, so that the aluminum bar is covered. All inside and outside corners, pipes, drain outlets, scuppers and other penetrations, unusually shaped walls/details etc. shall have an flashing of uncured EPDM factory laminated to splice tape, having an overall thickness of minimum 2 mm as per manufacturer's specification. | Sqm | 3880.5 |  |  | 0
27.40 | Providing grooves of size 6 mm wide and 25 mm deep on floor surface at every 20 Sqm area grooves made by groove cutting machine with diamond cutting wheel and filling of the grooves with polysulphide sealant. | Mtr | 220 |  |  | 0
27.41 | Providing and fixing expansion joint 12mm thick to full depth of slab with performed bituminous filler Cap cell HD – 100, at top 40 mm primed with sealant with sealing compound grade – A all as per MORTH specification. All as directed by Project Manager - in - charge | Mtr | 220 |  |  | 0
27.42 | Providing and laying 300 microns thick HDPE sheet in rolls over WBM subbase. A minimum lap of 150 mm shall be provided at all junctions and wherever required. Finished net area will only be measured for payment. | Sqm | 1746 |  |  | 0
| Structural Glazing System |  |  |  |  | 0
| Rates quoted must have full compliance with the following : |  |  |  |  | 0
| a. All clauses / conditions in tender document |  |  |  |  | 0
| b. Technical specifications of tender document |  |  |  |  | 0
| c. The quantities / opening panel sizes may vary to suit the site conditions / elevations |  |  |  |  | 0
| d. Prior to submission of the bid it is advised that Contractor must visit site and acquaint with prevailing site conditions. The schedule of probable quantities may vary on the higher or lower side. Hence in the event of material procurement, the contractor shall workout the actual quantities based on the shop drawings approved by the architects & Project manager / client. The rate quoted in the tender must be finished work based on actual work done. All extra and surplus material if any by the contractor will be at contractors risk procured. |  |  |  |  | 0
| e. Contractor shall be responsible for the structural stability of the glazing system installed. All facades shall be designed for wind load (speed) as per IS code & Importance factor, costal area consideration subjected to approval of Designer |  |  |  |  | 0
| f.The rate quoted shall include for necessary steel scaffolding / staging as required for Erection and Commissioning. |  |  |  |  | 0
| g . All anchoring bolts which goes inside the structural / support members should be of M S hot dip Galvanized and which exposed to the weather should be of Stainless Steel of SS 316 grade. |  |  |  |  | 0
| h. Contractor to provide structural glazing opening size sub frame. Sub frame shall be fixed during construction (This shall help to maintain proper line, level and plum in plaster) as applicable, Minor gaps to be sealed with weatherproof sealant, if the gap is more than 20mm the same shall be sealed with membrane |  |  |  |  | 0
| i. Contractor to furnish all the drawings for Architect / Project Manager / client approval along with sequence of work. All glazing material shall be procured from approved Manufacturer. |  |  |  |  | 0
| j. The tender rates should include supply of all materials unless mentioned otherwise including the cost of transportation, loading, unloading, stacking and storing and execution of work. |  |  |  |  | 0
| k.Contractor to follow all Safety Norms & Guidelines. Particularly all working at height must be done with cherry picker, platform truck & if the scaffold is used, it should be of cuff-lock system type & should be approved from Project Manager / client. |  |  |  |  | 0
| m.Contractor to design the expansion joint in structural glazing & should be approved from Project Manager / client. (No extra claim shall be paid in this item) |  |  |  |  | 0
| n. Anodic coating shall be as per IS code 1868 - 1996 (or latest revision) with AC25 minimum micrometre thickness 20 as specified in Technical specification / as approved by project manager / Client |  |  |  |  | 0
| o. Contractor to perform performance mock up test for water & air infiltration as per direction of Project Manager/Client. |  |  |  |  | 0
| o. Contractor to perform performance mock up test for water & air infiltration as per direction of Project Manager/Client. |  |  |  |  | 0
| The proposed façade / (sections) for structural glazing shall be tested for following. Approx., . Mock up sample of 4 (w) x 11(h) m |  |  |  |  | 0
| a. Air infiltration – ASTM E283 b. Static water penetration test– ASTM E331 c. Dynamic water penetration test – AAMA 501.1 d. Structural performance test – ASTM E330 e. Repeat static water penetration test– ASTM E331 f. Proof load test – ASTM E330 |  |  |  |  | 0
| Testing laboratory - Winwall Technology India Pvt. Ltd./ Façade one / or approved equivalent |  |  |  |  | 0
| Any claims, disputes in the quoted rates and extra items at later stages will not be entertained outside the scope of above |  |  |  |  | 0
27.43 | Providing and fixing unitized double glazed unit (DGU) mention below Structural glazing system having main frame work of verticals and horizontal made out of specially design extruded with anodic coated aluminium section to withstand design wind speed, using approved make glass or approved equivalent offline coated reflective glass for outside, hermetically sealed with all standard necessary accessories including applying silicon sealant of approved make, EPDM triple barriers, weather strip to ensure water and air-tightness etc., complete as detailed in drawings and as directed by Architects / Project Manager / Client's representative. The quoted rate shall include all require fittings, fasteners, accessories, scaffolding, wastages, transportation, etc. complete. (AIS ecosense Nimbus code 48/48 / or approved equivalent glass) Note - Structural framing grid of mullion & transoms needs to be strengthen & designed to accommodate the External Fins fixing. |  |  |  |  | 0
a) | Using DGU Outer glass from Reflective glass - AIS ecosense Enchance Nimbus code 48/48 toughened glass + Air gap + Inner clear toughed glass Glass Panel (8+16+6)mm | Sqm | 8788 |  |  | 0
a1) | Using SGU Outer glass from Reflective glass - AIS ecosense Enchance Nimbus code 48/48 toughened glass 10mm | Sqm | QRO |  |  | 0
b) | Using DGU Outer glass from Reflective glass - AIS ecosense Enchance Nimbus code 48/48 toughened glass + Air gap + Inner clear toughed glass Glass Panel (6+12+6)mm | Sqm | QRO |  |  | 0
c) | Extra over AW001 for hardware used in side hung window, 2/4 point fixing system with design heavy duty design friction hinges, handle, gasket, window panel framing etc complete (Panel approx.,. size max 1200 x 1200 mm) mode of measurement shall be in Nos | Each | 150 |  |  | 0
d) | Extra over AW001 for hardware used in side hung door with design heavy duty design hinges, handle, lock, gasket, door panel framing etc complete mode of measurement shall be in Nos | Nos | QRO |  |  | 0
e) | providing and fixing of spandrel panel insulation in with shadow boxes of 50mm thick insert semi-rigid black faced mineral wool at a density of 48 Kgs/cum. All thermal insulation shall be fully and continuously sealed with the spandrel by the corresponding back pan of 1.2mm thickness gauge anodic coating / or powder coated as per architect approval. Aluminium sheet to approved colour and make, the same shall be sealed with a continues bead of GE Silicone Silpruf or equivalent as detailed in drawings and as directed. The rate shall include scaffolding, wastages, transportation, all require fittings, fasteners and any other accessories to hold the insulation panels in position etc. complete. | Sqm | QRO |  |  | 0
27.44 | Designing, providing & fixing vertical louvers (external fins) made out of external grade compact laminate from FunderMax / Trespa / Greenlam / Marino , refer drawing This fins need to be fixed to structural glazing member The scope to include strenghting of structural glazing member, brackets, making aluminium sub framing / or structural steel framing etc to be anchor to bracket, forming the outer Fin panel Compact laminate fins to be made by fixing manufacture specified revert / or approved system The quoted rate shall include all require end capping, fittings, fasteners, accessories, wastages, transportation, etc. complete. All side edge capping / flashing / covering for vertical louvers shall done using anodic coated extruded aluminium section as approved Architect Mode of measurement shall be Fins surface Area (All works inclusive) |  |  |  |  | 0
a) | Using 6mm laminate | Sqm | QRO |  |  | 0
b) | Using 8mm laminate | Sqm | QRO |  |  | 0
25.1 | Providing and supplying aluminium extruded tubular and other aluminium sections as per the architectural drawings and approved shop drawings , the aluminium quality as per grade 6063 T5 or T6 as per BS 1474, including super durable powder coating of 60-80 microns conforming to AAMA 2604 of required colour and shade as approved by the Engineer-in-Charge. (The item includes cost of material such as cleats, sleeves, screws etc. necessary for fabrication of extruded aluminium frame work. Nothing extra shall be paid on this account). The weight of aluminium extruded section shall be taken for purpose of payment. | Kgs | 43912 |  |  | 0
27.56 | Providing and fixing unitized Louvered System with fixed aluminium box section, louvers of Z shaped 10 swg necessary arrangements like weather strips etc., with anodic coating make the edges completely waterproof and fabricated using aluminium extruded sections etc., complete as detailed in drawing to suit the overall sizes of openings. The rate shall include scaffolding, wastages, transportation, etc. complete. Mode of measurement shall be surface area, including the Door provision in same BOQ item. | Rmt | 1120 |  |  | 0
| Location : In structural glazing |  |  |  |  | 0
27.57 | Providing, supplying, fabricating and fixing panel of aluminium composite panel cladding in approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick LDPE virgin core sandwiched between two Aluminium sheets (each 0.5mm thick of AA5005 grade). The Aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF based fluoropolymer resin (having 70:30 ratio of PVDF and Acrylic) coating of approved colour and shade on top face and polymer (Service) coating on bottom face as specified and fixed over aluminium frames. The panel thus pre-fabricated are to be fixed to suit site conditions. The aluminium panel to be pre-coated with highly weather resistant coating of fluro carbon (PVDF) which can withstand solar radiation and industrial pollution. The main frame work to be fixed to RCC surface, masonry to form suitable grid and aligned to perfect level and form. The aluminium composite panels then to be fixed to the main frame leaving uniform gap of not more than 12mm between adjacent panels and to match adjacent glazing gaps. This gap to be made suitable as weather sealed junction with using exposed sealant surface. With appropriate arrangement for drainage and proper covering for the same as architect approval. |  |  |  |  | 0
| The rate shall include aluminium sub frame required to form panel, scaffolding, wastages, transportation, etc. complete. |  |  |  |  | 0
| Contractor to consider all shapes as per detailed drawing for flashing for coving, side covering for opening / window for dry wall cladding, canopy structure, elevation elements etc including round column, facia, bands, profile bending provision for light fixture cuttings, rain water drain outlet etc. contractor to consider working to all level. |  |  |  |  | 0
| Using ACP sheet total thickness - 4mm | Sqm | QRO |  |  | 0
c) | Providing, supplying, fabricating and fixing panel of aluminium composite panel cladding in approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core (having 2 hours fire resistance in accordance to ASTM E119-12 and EN13501-1 Class B, s1 d0) sandwiched between two Aluminium sheets (each 0.5mm thick of AA5005 grade). The Aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF based fluoropolymer resin (having 70:30 ratio of PVDF and Acrylic) coating of approved colour and shade on top face and polymer (Service) coating on bottom face as specified using and fixed over aluminium frames. The panel thus pre-fabricated are to be fixed to suit site conditions. The aluminium panel to be pre-coated with highly weather resistant coating of fluro carbon (PVDF) which can withstand solar radiation and industrial pollution. The main frame work to be fixed to RCC surface, masonry to form suitable grid and aligned to perfect level and form. The aluminium composite panels then to be fixed to the main frame leaving uniform gap of not more than 12mm between adjacent panels and to match adjacent glazing gaps. This gap to be made suitable as weather sealed junction with using exposed sealant surface. With appropriate arrangement for drainage and proper covering for the same as architect approval. |  |  |  |  | 0
| The rate shall include aluminium sub frame required to form panel, scaffolding, wastages, transportation, etc. complete. |  |  |  |  | 0
| Contractor to consider all shapes as per detailed drawing for flashing for coving, side covering for opening / window for dry wall cladding, canopy structure, elevation elements etc including round column, facia, bands, profile bending provision for light fixture cuttings, rain water drain outlet etc. contractor to consider working to all level. |  |  |  |  | 0
| Using ACP sheet total thickness - 4mm | Sqm | QRO |  |  | 0
d) | Providing, supplying, fabricating and fixing panel of aluminium composite panel cladding in approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core (having 2 hours fire resistance in accordance to ASTM E119-12 and EN13501-1 Class B, s1 d0) sandwiched between two Aluminium sheets (each 0.5mm thick of AA3105 grade). The Aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF based fluoropolymer resin (having 70:30 ratio of PVDF and Acrylic) coating of approved colour and shade on top face and polymer (Service) coating on bottom face as specified using and fixed over aluminium frames. The panel thus pre-fabricated are to be fixed to suit site conditions. The aluminium panel to be pre-coated with highly weather resistant coating of fluro carbon (PVDF) which can withstand solar radiation and industrial pollution. The main frame work to be fixed to RCC surface, masonry to form suitable grid and aligned to perfect level and form. The aluminium composite panels then to be fixed to the main frame leaving uniform gap of not more than 12mm between adjacent panels and to match adjacent glazing gaps. This gap to be made suitable as weather sealed junction with using exposed sealant surface. With appropriate arrangement for drainage and proper covering for the same as architect approval. |  |  |  |  | 0
| The rate shall include aluminium sub frame required to form panel, scaffolding, wastages, transportation, etc. complete. |  |  |  |  | 0
| Contractor to consider all shapes as per detailed drawing for flashing for coving, side covering for opening / window for dry wall cladding, canopy structure, elevation elements etc including round column, facia, bands, profile bending provision for light fixture cuttings, rain water drain outlet etc. contractor to consider working to all level. |  |  |  |  | 0
| Using ACP sheet total thickness - 4mm | Sqm | QRO |  |  | 0
28.57 | Providing & fixing clear glass to glass glazing with Butt-joint fixed by using SS channels on peripherals of the glazing fitted with 12mm clear float toughened glass of Saint Gobain or approved equivalent without having any intermediate horizontal or vertical members and completely sealed with clear silicone sealant with all standard accessories detailed in drawings and as directed by the architects. | Sqm | QRO |  |  | 0 | 25.3
28.58 | Supply & installation of 2 storey pre-fabricated porta cabin of size 20' x 15' x 8.5' made up of approved quality steel sections/ frame work, 1.60mm thick MS corrugated sheet for external walls and 2mm thick MS sheet for approved sloping roof pattern, provision of Aluminium doors & windows of specified quantity and 4' x 4' size with weather sheds , provision of 1.5mm thick PVC flooring over 16mm marine plywood supporting arrangement, laminated plywood board (Make-Novapan/Greenlam) (8mm thick) wall paneling with glasswool insulation for inside portion of walls, false ceiling with 9mm thick laminated particle board with glasswool insulation, provision of concealed wiring in PVC conduit using ISI mark fire resistant wires, electrical / telephone / / LAN / Computer cable wiring with necessary fittings such as CFL tube lights, door lights, fans, switches, sockets AC point and 2 no. split AC unit of 1.5T capcity ( Make- Carrier/Voltas/ /LG) Phosphating the cabin internally & externally and painting with one coat of EPOXY Primer with two coats of EPOXY Coated Textured Paint including providing and fixing work table, side storages, soft board, Chairs, work table in open areas, storages , cabins for executive, pantry etc all complete as per the specifications | Each | 1 |  |  | 0
28.59 | Providing, laying light duty non pressure NP4 class RCC pipes with collars jointed with stiff mixture of cement mortar 1:2 including testing of joints etc complete for following: |  |  |  |  | 0
a | 300mm dia | Mtr | 199 |  |  | 0
b) | 450mm dia | Mtr | QRO |  |  | 0
c) | 600mm dia | Mtr | QRO |  |  | 0
| TOTAL C/O SUMMARY |  |  |  |  | 0

## Additional items
NAME OF PROJECT: Construction of Innovation Office Building (IOB) in Hyderabad
NATIONAL PAYMENTS CORPORATION OF INDIA (NPCI)
RFP # NPCI/2023-24/DC/036 dated 30.11.2023
Bill of Quantities for Additional items
Sl.No. | Description | Unit | Indicative Quantity | Bidders Quantity | Rate | Amount
0
1 | [5 empty] | 0
2 | [5 empty] | 0
3 | [5 empty] | 0
4 | [5 empty] | 0
5 | [5 empty] | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| TOTAL C/O SUMMARY |  |  |  |  | 0