## Landscape
NAME OF PROJECT: Construction of Innovation Office Building (IOB) in Hyderabad
NATIONAL PAYMENTS CORPORATION OF INDIA (NPCI)
RFP # NPCI/2023-24/DC/036 dated 30.11.2023
Bill of Quantities for Landscape and associated works
Sl.No. | Description | Unit | Indicative Quantity | Bidders Quantity | Rate | Amount
1 | Garden Soil: Supply, Stacking, Mixing in required proportions of 70:20:10 of red soil, manure, sand, up to 300 mm Lift and lead spreading and compacting as required maybe for all plantation works complete with gradient slopes and surface preparation | Sqm | 2500
2 | Supply & Lay the specified Mexican Lawn including cultivation, Dressing the surface to the desired shape,laying 6” layer of fine red soil, covered with a thin layer of sand, watering, rolling with hand roller (4” thickness after rolling), including the cost of for all plant cost, transport, soil preparation with Red Earth, Sand and Organic Fertilizers and pesticides are to be used as required/directed, labor charges, disposing the surplus earth and make good the area etc....complete | Sqm | 2500 |  |  | 0
3 | Trees: Excavating/constructing pits of size approximately 0.75m X 0.75m X 0.75m deep ; backfilling with Red Poyta soil and organic manure (@ 20 gms/pit/sqmt) (4:1) and providing mulch cover as per the instruction. Procuring and planting specified nursery Grown Trees of minimum 4mtr height , supporting it with sturdy stakes as per detail; put into the pit by the side of the saplings and tied to it. The spacing, location and other details as per the drawings and specifications. Rate to include for plant cost, transport, soil, preparation, installation, labor, disposing the surplus earth, , etc., all complete. Organic fertilizers and pesticides (@ 20 gms/pit/sqmt) are to be used as required/directed. | Each | 600 |  |  | 0
4 | Shrubs: Excavating/constructing pits approximately 450mm deep & planting of specified Shrubs including cultivation of land to a depth of 450mm, clearing of debris and unwanted materials and planting the same in a mixture of Red Poyta soil and organic manure (@ 20 gms/pit/sqmt) (4:1) and providing mulch cover as per the instruction. Procuring and planting nursery grown healthy and bushy ground cover plants, the spacing location and other details as per the drawings and specifications. Rate to include for all plant cost, transport, soil preparation, installation, labor, disposing the surplus earth, all complete. Organic fertilizers and pesticides are to be used as required/directed. | Each | 2500
5 | Ground Covers: Excavating/constructing pits approximately 450mm deep & planting of specified Ground Cover including cultivation of land to a depth of 450mm, clearing of debris and unwanted materials and planting the same in a mixture of Red Poyta soil and organic manure (@ 20 gms/pit/sqmt) (4:1) and providing mulch cover as per the instruction. Procuring and planting nursery grown healthy and bushy ground cover plants, the spacing location and other details as per the drawings and specifications. Rate to include for all plant cost, transport, soil preparation, installation, labor, disposing the surplus earth, all complete. Organic fertilizers and pesticides (@ 20 gms/pit/sqmt) are to be used as required/directed. | Each | 1000
6 | Preparation of mounds of various size and shape by available excavated / supplied earth in layers not exceeding 20 cm in depth, breaking clods, watering of each layer, dressing etc., lead upto 50 meter and lift upto 1.5 m complete as per direction of Engineer-in-charge. | Sqm | 1050
7 | Supply & Fix the ProGrass Grass pavers in 500mm*390mm*45mm size panels and honeycomb cell structure. Grass Pavers to be made of recyclable HDPE with approximate green area of about 90%. Make: Ritter Landscaping, Germany | Sqm | 100
8 | Manufacture, Supply, Delivery, of 110 mm dia Unplasticised PVCs Pipes including Lowering, laying, jointing and testing of pressure 6 kg/cm2 for potable water supplies conforming to IS : 4985/2000 (3rd revision) with bell ends (Socket) as per specification in light Grey/Natural Ivory Grey/ Any other Color (except White) inclusive of transportation to the sub-divisional stores anywhere in TS excluding taxes-PVC for main 6kg/cm2-110mm-WATERCARRIER SYSTEM | Rmt | 200
9 | Manufacture, Supply,Delivery, of 90mm dia Unplasticised PVCs Pipes including Lowering, laying, jointing and testing of pressure 6 kg/cm2 for potable water supplies conforming to IS : 4985/2000 (3rd revision) with bell ends (Socket) as per specification in light Grey/Natural Ivory Grey/ Any other Color (except White) inclusive of transportation to the sub-divisional stores anywhere in TS excluding taxes-PVC for main 6kg/cm2-90mm-WATERCARRIER SYSTEM | Rmt | 400
10 | Manufacture, Supply,Delivery, of 75mmdia Unplasticised PVCs Pipes including Lowering, laying, jointing and testing of pressure 6 kg/cm2 for potable water supplies conforming to IS : 4985/2000 (3rd revision) with bell ends (Socket) as per specification in light Grey/Natural Ivory Grey/ Any other Color (except White) inclusive of transportation to the sub-divisional stores anywhere in TS excluding taxes-PVC for main 6kg/cm2-75mm-WATERCARRIER SYSTEM | Rmt | 600
11 | Manufacture, Supply,Delivery, of 63mm dia Unplasticised PVCs Pipes including Lowering, laying, jointing and testing of pressure 6 kg/cm2 for potable water supplies conforming to IS : 4985/2000 (3rd revision) with bell ends (Socket) as per specification in light Grey/Natural Ivory Grey/ Any other Color (except White) inclusive of transportation to the sub-divisional stores anywhere in TS excluding taxes-PVC for main 6kg/cm2-63mm-WATERCARRIER SYSTEM | Rmt | 200
12 | Manufacture, Supply,Delivery, of 50mm dia Unplasticised PVCs Pipes including Lowering, laying, jointing and testing of pressure 6 kg/cm2 for potable water supplies conforming to IS : 4985/2000 (3rd revision) with bell ends (Socket) as per specification in light Grey/Natural Ivory Grey/ Any other Color (except White) inclusive of transportation to the sub-divisional stores anywhere in TS excluding taxes-PVC for main 6kg/cm2-50mm-WATERCARRIER SYSTEM | Rmt | 400
13 | Manufacture, Supply,Delivery, of 40mm dia Unplasticised PVCs Pipes including Lowering, laying, jointing and testing of pressure 6 kg/cm2 for potable water supplies conforming to IS : 4985/2000 (3rd revision) with bell ends (Socket) as per specification in light Grey/Natural Ivory Grey/ Any other Color (except White) inclusive of transportation to the sub-divisional stores anywhere in TS excluding taxes-PVC for main 6kg/cm2-40 mm-WATERCARRIER SYSTEM | Rmt | 600
14 | Supply,Fixing & commissioning of flexible online tubing, TUBE OD16MM CL2X400 MTR in Black colour pressure rating 1 bar including cost , conveyance of all materials and labour charges etc., complete as per SS-Sprinkler and Acessories | Rmt | 1200
15 | Supply,Fixing & commissioning of emitter Non pressure compensating with self piercing barbs,flow rates 2LPH to 8LPH UV resistant colour coded with working pressure 1.0to 3.5bar XB including cost , conveyance of all materials and labour charges etc., complete as per SS DRIPPER 8 LPH-Sprinkler and Acessories | Rmt | 1200 |  |  | 0
16 | Supply,Fixing & commissioning of flexible, inline tubing Drip Lateral with in built drippers of 4 lph @ 30cm spacing including cost , conveyance of all materials and labour charges etc., -Sprinkler and Acessories | Rmt | 1200 |  |  | 0
17 | Supply,Fixing & commissioning of Stakes for fixing lateral on mound complete--Sprinkler and Acessories | No | 5000 |  |  | 0
18 | Supply,Fixing & commissioning of End caps for closing the lateral lateral complete -Sprinkler and Acessories | No | 5000 |  |  | 0
19 | Supply,Fixing & commissioning of take off Connects Drip Line and Blank Tubing to PVC Mainlines at Low Pressures including cost , conveyance of all materials and labour charges etc., complete-Take off -Sprinkler and Acessories | No | 5000 |  |  | 0
20 | Supply,Fixing & commissioning of Gromate Connects Drip Line and Blank Tubing to PVC Mainlines at Low Pressures including cost , conveyance of all materials and labour charges etc., complete-Grommets-Sprinkler and Acessories | No | 5000 |  |  | 0
21 | Supply,Fixing & commissioning of High Quality Barbs to Grab Tubing for a Secure Fit. Unique Barb Design to Reduce Insertion Force. Non - Obtrusive Black Colored Fittings of 16mm BARB X BARB JOINER including cost , conveyance of all materials and labour charges etc., complete-Joiners-Sprinkler and Acessories | No | 5000 |  |  | 0
22 | Supply,Fixing & commissioning of High Quality Barbs Grab Tubing for a Secure Fit. Unique Barb Design to Reduce Insertion Force. Non - Obtrusive Black Colored Fittings of 16mm BARBX BARB ELBOW including cost , conveyance of all materials and labour charges etc., complete as per SSJ-TURBO AQUR/ LINE ELBOW 16 MM-Sprinkler and Acessories | No | 5000 |  |  | 0
23 | Supply,Fixing & commissioning of High Quality Barbs Grab Tubing for a Secure Fit. Unique Barb Design to Reduce Insertion Force. Non - Obtrusive Black Colored Fittings of 16mm BARBX BARB TEE including cost , conveyance of all materials and labour charges etc., complete as per SSJ-TURBO AQUR/ LINE TEE 16 MM-Sprinkler and Acessories | No | 1000 |  |  | 0
24 | Supply,Fixing & commissioning of Pop up sprinkler full/part circle SPR. 565 POP STAR PLUS 3/4" having radius of throw 6.7m - 12m & flow of 0.09 - 0.61 ltr./sec.at an operative pressure of 2.5 - 4.5 kg/cm.sq. , The sprinkler is gear driven rotary type with RC technology having 3/4" bottom inlet, with slip clutch mechanism and heavy duty retract spring. memory arc .The sprinkler shall have multi-function, pressure-activated wiper seal for low pressure opreation a The sprinkler shall have internal Seal - A - Matic device which prevents low head drainage (upto 3.1m) & hence puddling & erosion. The body of sprinkler is of non - corrodible, heavy duty, ABS plastic.5004 including cost , conveyance of all materials and labour charges etc., complete-SPR. 565 POP STAR PLUS 3/4"-Sprinkler and Acessories | No | 80 |  |  | 0
25 | Supply,Fixing & commissioning of 3/4" Pop up Connecting Swing joint Assembly 3/4"X30 CM STND.SWING JOINT,4S.E. The tubing shall be made of polyetylene having wall thickness of 2.3mm ,a working pressure of 5.5 kg/cm2 at 43oC and a surge pressure of 16.6 kg/cm2. The fittings shall be made of UV resistant thermo plastic.SA Series i including cost , conveyance of all materials and labour charges etc., complete-Sprinkler and Acessories | NO | 80 |  |  | 0
26 | Supply,Fixing & commissioning of PVC SERVICE SADDLE 50 MM X3/4"- HD of varying size with pressure rating of PN 10 including cost , conveyance of all materials and labour charges etc., complete-Sprinkler and Acessories | No | 80 |  |  | 0
27 | Supply,Fixing & commissioning of PVC SERVICE SADDLE 63 MM X 25MM(3/4)- HD of varying size with pressure rating of PN 10 including cost , conveyance of all materials and labour charges etc., complete-Sprinkler and Acessories | No | 80 |  |  | 0
28 | Supply,Fixing & commissioning of Imported PVC SERVICE SADDLE40 MM X 25MM(3/4)- HD of varying size with pressure rating of PN 10 including cost , conveyance of all materials and labour charges etc., complete-Sprinkler and Acessories | No | 80 |  |  | 0
29 | Providing of Pop-up Rotor Sprinkler of throw radius varying form 18-19 mts with key features like Plastic riser. Automatic Arc Return, Non trippable Drive Mechanism, Quick Check Arc Mechanism, Drain Check Valve, part & Full Circle in one nodel Model: I-25-04-B Pop-up Sprinkler Nozzle No 25, Pressure-4.5 kg/cm2, Radius-20.1m, Discharge-1.55 LPS -Sprinkler and Acessories | No | 20 |  |  | 0
30 | Providng 1” Pop up connecting Swingjoint Assemble. The tubing shall bemade of polyetylene having wallthickness of 2.3mm. a working pressureof 5.5 kg/ cm2 at 430C and a surge pressure of 16.6 Kg/ cm2. The fittingssahll be made of UV resistant thermopalstic. Swing Joint - 1" x 30 cm-Swing Joint - 1" x 30 cm-Sprinkler and Acessories | No | 80 |  |  | 0
31 | Supply,Fixing & commissioning of control Valve, 3"Butterfly Valve in mainline for bypass and flow diversion of approved quality with pressure rating of PN 10 including cost , conveyance of all materials and labour charges etc., complete as per SSBUTTERFLY VALVE C.I. 80 MM -3”-Sprinkler and Acessories | No | 30 |  |  | 0
32 | Supply,Fixing & commissioning of PVC Service Saddle - 75 mm x 1” (Heavy Duty) of varying size with pressure rating of PN 10 including cost , conveyance of all materials and labour charges etc., complete -Sprinkler and Acessories | No | 80 |  |  | 0
33 | Supply,Fixing & commissioning of PVC Service Saddle - 90 mm X 1" (Heavy Duty) of varying size with pressure rating of PN 10 including cost , conveyance of all materials and labour charges etc., complete-Sprinkler and Acessories | No | 80 |  |  | 0
34 | Supply,Fixing & commissioning of PVC PVC Service Saddle - 110 mm X 1" (Heavy Duty) of varying size with pressure rating of PN 10 including cost , conveyance of all materials and labour charges etc., complete-Sprinkler and Acessories | No | 80 |  |  | 0
35 | Providing & fixing of PS Utra Pop up POP UP MINISTER 4"WITH VAN 17A 1/2" having colour coded Spray nozzle of covering 1.5-5m. The Spray Head body shall be constructed of heavy-duty, ultraviolet resistant plastic and stainless steel spring with mutifunctional wiper seal with small exposed cover. etc. item complete-Sprinkler and Acessories | No | 80 |  |  | 0
36 | Supply,Fixing & commissioning of PVC SERVICE SADDLE 63MM X 1/2"- HD of varying size with pressure rating of PN 10 including cost , conveyance of all materials and labour charges etc., complete-Sprinkler and Acessories | No | 80 |  |  | 0
37 | Providing & Fixing of , 1/2" Pop up Connecting Four Elbow Swing joint Assembly. The fittings shall be made of UV resistant thermo plastic.etc. item complete.1/2"X30 CM STND.SWING JOINT,4S.E-Sprinkler and Acessories | No | 80 |  |  | 0
38 | Providing and fixing of PVC SERVICE SADDLE 50 MM X1/2"- HD of varying size- HD-Sprinkler and Acessories | No | 700 |  |  | 0
39 | Providing and fixing of PVC SERVICE SADDLE 40 MM X1/2"- HD of varying size- HD-Sprinkler and Acessories | No | 700 |  |  | 0
40 | Supply,Fixing & commissioning of PVC CTRL VALV 90MM TEFLON SEAL PLAIN,security pivot to maintain lever in space,double water tight joint,direct injection stem non mechanical ,with a base which permits maximum penetration into the valve of size 63mm with pressure rating PN 10 including cost , conveyance of all materials and labour charges etc., complete -Sprinkler and Acessories | No | 60 |  |  | 0
41 | Supply,Fixing & commissioning of PVC CTRL VALV75MM TEFLON SEAL PLAIN,security pivot to maintain lever in space,double water tight joint,direct injection stem non mechanical ,with a base which permits maximum penetration into the valve of size 63mm with pressure rating PN 10 including cost , conveyance of all materials and labour charges etc., complete-Sprinkler and Acessories | NO | 60 |  |  | 0
42 | Supply,Fixing & commissioning of PVC CTRL VALV 63MM TEFLON SEAL PLAIN,security pivot to maintain lever in space,double water tight joint,direct injection stem non mechanical ,with a base which permits maximum penetration into the valve of size 63mm with pressure rating PN 10 including cost , conveyance of all materials and labour charges etc., complete-Sprinkler and Acessories | No | 60 |  |  | 0
43 | Supply,Fixing & commissioning of self-closing flushing valves that are installed at the end of the irrigation line for effecting flushing of the line at the beginning of every irrigation cycle, thus avoiding the clogging of the emitters /sprinklers through removal of particles, sediments and other impurities from the water including cost , conveyance of all materials and labour charges etc., complete FLUSH VALVE 50 MM-Sprinkler and Acessories | No | 60 |  |  | 0
44 | Supply,Fixing & commissioning of 12" IRRIGATION VALVE BOX 12" with greenlid and corrugated structure with unique shovel access slot and bolt hole knockout & having Dimensions @ Top Opening:18 1/4" L X 13" W & bottom opening :21 1/4" L X 15 15/16"W X 12" H PVB/VB including cost , conveyance of all materials and labour charges etc., complete -Valve and Filters Accessories | NO | 20 |  |  | 0
45 | Supply of Fixing & commissioning of 3"-80MM(3) SIN WITH M.MF. sandfilter with capacity 50 m3 / Hr matching pump design flow having an suitable inlet connections and backwash assembly for removal of algae, trash, silt at regular interval in the incoming water, with fine sand media bottom of filter & maximum working pressure of 7 Bars-Valve and Filters Accessories | No | 20 |  |  | 0
46 | Supply,Fixing & commissioning of 3" DIS/SIS J-SUP-FLOW FIL FLAN 50M3 90MM G with capacity 50m3/Hr having an suitable inlet connections , to create a helical effect in the incoming water ,spinning particulate in suspension away from the filtering element and so minimizing cleanings frequency ,3/4" outlet for flushing at bottom of filter & maximum working presure of 12 Bars.STF including cost , conveyance of all materials and labour charges etc., complete-Valve and Filters Accessories | No | 10 |  |  | 0
47 | Supply of 2"PRESSURE GUAGE GLYCERINE FILLED &CORK 1/4"pressure guage glycrine filled & cork 1/4"-Valve and Filters Accessories | No | 20 |  |  | 0
48 | Supply,Fixing & commissioning of 3"GM. NON RETURN VALVE 3." AP to prevent back flow have flap type or spring type with pressure rating of PN 10 including cost , conveyance of all materials and labour charges etc., complete-Valve and Filters Accessories | No | 30 |  |  | 0
49 | Supply,Fixing & commissioning of a DBL ACT AIR/VAC RELE VLV32MM(1)+D3750 " Air release valve The Air release valve shall be capable of both releasing and admitting air from and into the line. The working pressure shall be 5 bar including cost , conveyance of all materials and labour charges etc., complete-Valve and Filters Accessories | No | 30 |  |  | 0
50 | Supply,Fixing & commissioning of QUICK COUPLING VL. 3/4"FEMALE made up of solid brass with locking cover corrosion resistant and stainless steel spring 3RC including cost , conveyance of all materials and labour charges etc., complete-Valve and Filters Accessories | No | 10 |  |  | 0
51 | Supply,Fixing & commissioning of QUICK COUPLING KEY 3/4" Mthreads into top of QCV to provide water access 33DK including cost , conveyance of all materials and labour charges etc., complete-Valve and Filters Accessories | No | 10 |  |  | 0
52 | Providing and fixing Green wall as below specifications.Modular 1’ x 1’ stainless steel panels attached to a stainless steel frame Suitable Walls, Concrete, CMU, wood or metal frame, structural steel, Mountin: frames are mounted directly to the structure & panels are then hung Panels :-Stainless steel T304, mill finishGrowth Media Either rockwool block or coco fiber block, encased in a UV protected, non-woven fabricDimensions: Standard: 11-7/8” H x 11-7/8” W x 3-1/2” D (300 x 300 x 85) Adj. Height: 6” to 18” H x 11-7/8” W x 3-1/2” D (150 to 450 x 300 x 85) Adj. Width: 11-7/8” H x 6” to 18” W x 3-1/2” D (300 x 150 to 450 x 85) Frames :-Stainless steel T304 mill finish Dimensions: FR53: 4’ 11-3/4” H x 2’ 11-3/4” W x 1-1/2” D (1510 x 905 x 50) Irrigation :-Drip Line Pro Wall® Drip Line, six 0.5GPH emitters / ft², Controller:Timer, valves, filter, fertilizer injector, regulators, Fittings:Standard Pro PEX pipe & brass Push & Fit fittings system, Drainage Free drain, direct to bldg rainage, recirculating systems are possible Growth Time:Minimum order is 10 months with minimum 16 weeks growth of the plants in the panels Plant installation cannot occur during the cold winter monthsMaintenance: Required, 1-year minimum & maintenance access by lift or ladder must be planned for System Weight: 30 lbs. per foot FEATURE:• Pre-grown system for a minimum of 16 weeks at the nursery before delivery to the site • Designed for heavy winds & wind-driven rain • Structural growth medium • Framing system designed with architects & building envelope engineers in mind • Fully integrated liquid fertigation system All MS structure for supporing sstem not included In The item. | sqm | 1500 |  |  | 0
53 | Asparagus Sprengeri (Foxtail Fern) | Sqm | 184.2 |  |  | 0
54 | Wedelia Trilobata (Bonsai Ficus) | Sqm | 216.9034 |  |  | 0
55 | Amaranthus Tricolor (Creeping Juniper) | Sqm | 126.4639 |  |  | 0
56 | Chlorophytum Cosmosum (Lily Turf) | Sqm | 95.58 |  |  | 0
57 | Tradescantia Zebrina (Mondo Grass) | Sqm | 122.6683 |  |  | 0
58 | Ipomea Goldeana (Flax Lily Variegated) | Sqm | 152.7844 |  |  | 0
59 | Syngonium Variegated(Rangan ) | Sqm | 155.376 |  |  | 0
60 | Crassula Argentia (Purple Fountain Grass) | Sqm | 199.9015 |  |  | 0
61 | Finish Not Mentioned (Wandering Jew) | Sqm | 123.6206 |  |  | 0
62 | Tradescantia Zebrina | Sqm | 75 |  |  | 0
63 | Scaffolding cost- Providing and Installing/Dismantling of scafolding, as and when required for Green wall | Sqm | 1452 |  |  | 0
0
| TOTAL C/O SUMMARY |  |  |  |  | 0

## Additional items
NAME OF PROJECT: Construction of Innovation Office Building (IOB) in Hyderabad
NATIONAL PAYMENTS CORPORATION OF INDIA (NPCI)
RFP # NPCI/2023-24/DC/036 dated 30.11.2023
Bill of Quantities for Additional items
Sl.No. | Description | Unit | Indicative Quantity | Bidders Quantity | Rate | Amount
0
1 | [5 empty] | 0
2 | [5 empty] | 0
3 | [5 empty] | 0
4 | [5 empty] | 0
5 | [5 empty] | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| TOTAL C/O SUMMARY |  |  |  |  | 0